HOT WORK PROGRAM

Prepared for:

(INSERT YOUR AGENCY HERE)

Reviewed by (print name):  ________________________________

Signature:______________________________________________ Date: __________

TABLE OF CONTENTS

PURPOSE	1

GENERAL	1

OPERATING PROCEDURES	1

This program can be developed for a municipality, a utility or housing authority, or a department.  NJPEOSH does not specify how the program must be organized.  It is the employer’s decision how to best organize the Program: city-wide, for the authority as a whole, or by department.

----------REMOVE ABOVE PARAGRAPH----------

# PURPOSE

The purpose of this procedure is to prevent accidents that could result from cutting, welding or other heat-producing operations in a flammable atmosphere where combustibles are present or while working in confined spaces. A Hot Work Permit is not required in a designated weld shop area with minimum combustibles and adequate mechanical ventilation.

# GENERAL

Personal protective equipment worn when working with hazardous materials may provide inadequate protection from flames or heat.  The person performing the work shall supplement the existing equipment with the following:

- Welding gloves made of leather or other fire-resistant material;

- Apron or jacket made of leather or other fire-resistant material;

- Eye & face protection with darkened lenses that meet the latest ANSI Standard Z.87.1

- If necessary respiratory protection approved for welding fume and particulates.

A competent person trained to recognize the hazards involved in performing hot work and who has the authority to take corrective action. The competent person shall also be familiar with the operation of an air monitor / meter.

# OPERATING PROCEDURES

No employee shall begin hot work in a field location unless a hot-work permit has been obtained. A foreman or supervisor may issue this Permit. The Hot Work Permit shall be explained to each affected employee and shall be signed by the individual issuing the Permit. A Hot Work Permit is attached at the end of these procedures.

The Hot Work Permit will be valid for a single work-shift only. For projects requiring more than a single work-shift, a new permit shall be completed at the start of each shift.  The permit shall be displayed in the work area.

At the conclusion of the hot work project, the Hot Work Permit(s) shall be filed with the Department Head.

It is the responsibility of the supervisor to see that workers comply with all safety practices of the Hot Work Permit.

The supervisor or foreman will complete the following procedures before beginning hot work:

Conduct a Visual Inspection of the Area

Ensure that any combustible materials surrounding the work area have been removed. Special attention will be paid to areas where hot slag can fall or spatter such as a stairwell.  Any combustible material that cannot be readily removed will be covered with fire-resistant tarp, wetted, or otherwise protected from the hot materials.

Identify ducts and/or conveyor systems that may contain or carry sparks to combustibles.  Ensure that such ducts and/or conveyor systems will be suitably protected or removed from service.  Precautions shall be taken to prevent ignition of combustibles located adjacent to or in metal walls and while cutting or welding on pipes or other metal in contact with combustible walls, partitions, ceilings or roofs.

Designate a Fire Watch

This individual’s responsibility will be to monitor the welding or burning operation and shall have immediate access to a fire extinguisher or water hose of sufficient size and type for the potential combustible material.  In addition, this individual shall be trained in the proper use of the appropriate fire extinguishing media and shall be aware of emergency signals and evacuation procedures. For work performed at elevated levels, a fire watch shall also monitor the floors below the area where the work is taking place.

Barricades shall be established, and maintained at lower floors or elevations to prevent exposure by other workers to falling sparks and or debris.

A fire watch will be maintained for a minimum of 30 minutes after hot work is finished.

Flammable Atmosphere

If there is a potential for a flammable atmosphere in excess of 10 percent of the lower explosive limits (LEL) or oxygen rich atmosphere of greater than 23.5%, testing shall be performed using a calibrated testing device. If a flammable atmosphere exists, work shall be postponed until such levels can be corrected.

Ventilation

All ventilation established during welding and cutting operations must be in accordance with 29 CFR 1910.252 (c) (2) and 1926.350-.354.

Grounding

All grounding will comply with 29 CFR 1926.351, 1910.254 (c) (2), (d) (3), 1910.255 (6) (9), (c) (6).

Hot Works Area

Personnel working in or passing through the area of the hot work will be alerted to the fact that hot work is taking place by means of warning signs or barricades.

UV-Protectant shields shall be installed between the work area and any resident individuals.

A Hot Work Permit will be completed and posted conspicuously at all field work areas. At the conclusion of hot work, be sure that all glowing cinders or hot slag are completely cooled to room temperature before leaving the job site.