|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Police Department  Facility Hazard Identification Inspection | | | | | |
| Agency: | | | | | Location: |
| Date: | | | | | Name of Inspector: |
|  | N/A | Needs Work | OK | Condition Surveyed | |
|  | Exterior Grounds, Walkways and Parking Areas | | | | |
| 1 |  |  |  | Exterior lighting of grounds, walkways, & parking areas adequate and operational | |
| 2 |  |  |  | Parking lots and driveways free of significant cracks and water accumulation | |
| 3 |  |  |  | Sidewalks and stairs / ramps free of significant trip or slip hazards | |
| 4 |  |  |  | Rails and handrails are present, not loose, and in good condition | |
| 5 |  |  |  | Roof, gutters, and downspouts are clean and control run-off properly | |
| 6 |  |  |  | Area is free of signs of rodent, insects, or feral animals being present | |
|  | Life Safety and Fire Protection Equipment | | | | |
| 7 |  |  |  | Intrusion alarm is operational and free of trouble or active alarms | |
| 8 |  |  |  | Closed-circuit TV cameras are operational, properly aimed and focused | |
| 9 |  |  |  | Fire sprinkler system is operational, controls valves accessible & locked / alarmed | |
| 10 |  |  |  | Fire detection system operational and free of trouble or active alarms | |
| 11 |  |  |  | Fire extinguishers are accessible and in good condition – SIGN REAR OF TAGS | |
| 12 |  |  |  | Emergency and Exit lights are lit and worked when test button/switch used | |
| 13 |  |  |  | Panic hardware on exit doors worked easily. Doors latched when closing | |
| 14 |  |  |  | Emergency generator operated on weekly basis | |
| 15 |  |  |  | First aid kit fully stocked. AED in READY condition. Expirations dates checked | |
| 16 |  |  |  | Panic alarms tested and received at monitoring station | |
|  | Building, Housekeeping and Sanitary Conditions | | | | |
| 17 |  |  |  | Sally port overhead doors entrapment sensors tested and operated properly | |
| 18 |  |  |  | Sally port floors are clean and clear of clutter. Area is free of potential weapons. | |
| 19 |  |  |  | Dispatch Area-electrical and communication wires are orderly & not a trip hazard | |
| 20 |  |  |  | Fitness Area-equipment is in good condition and stored not to present trip hazard | |
| 21 |  |  |  | Locker Rooms-showers, counters, and floors are clean. Personal items secured | |
| 22 |  |  |  | No unapproved space heaters or extension cords are present | |
| 23 |  |  |  | Approved space heaters are clear of combustible materials | |
| 24 |  |  |  | Electrical cords are not secured to furniture, thru doors, or across paths of travel | |
| 25 |  |  |  | Hallways / stairwells are well-lit, clear of obstructions and free of slip-trip hazards | |
| 26 |  |  |  | Stair treads and railing / handrail are secure. | |
| 27 |  |  |  | Areas around and 36” in front of electrical panels is clear | |
| 28 |  |  |  | Areas and floor around mechanical equipment is free of slip-trip hazards. | |
| 29 |  |  |  | Storage is 18” below sprinkler heads or 24” below ceiling | |
| 30 |  |  |  | No storage in HVAC and other mechanical rooms. Tools & equipment orderly. | |
| 31 |  |  |  | Storage areas of cleaning & hazardous substances clean, organized, & labeled | |
| 32 |  |  |  | Electrical cords of office and kitchen machines are in good condition & orderly | |
| 33 |  |  |  | Trash is emptied. Housekeeping is adequate | |
| 34 |  |  |  | Bathrooms are clean, supplies adequate, and trash emptied | |
| 35 |  |  |  | Refrigerator and stove are clean. Kitchen is free of signs of rodents / insects. | |
| 36 |  |  |  | Coffee pots, microwave, and kitchen appliances are clean and cords intact | |
| 37 |  |  |  | Walls, floors, and ceilings are free of water, rodent, or mechanical damage. | |