| FACILITY NAME Rental Hall Safety Checklist This checklist may be used for pre-event and periodic inspections |
| --- |
| Date: _________________ Time: _________ | Inspector Name: |
| # | Needs Work | OK | N/A | Write line # and comments on back for all “Needs Work” items |
|  | Exterior Building Conditions |
| 1 |  |  |  | Exterior stairs and ramps are unobstructed. |
| 2 |  |  |  | Handrails are in good condition |
| 3 |  |  |  | Exterior doors locks, latches and automatic closers work properly. |
| 4 |  |  |  | Exterior lighting adequate on lots and walkways. All lights working. |
| 5 |  |  |  | Grounds, lots, and walkways in good condition and free of slip and trip hazards. |
| 6 |  |  |  | Controls for ice, or potential for ice, are in place and adequate. Check if ( snow shoveled; ( salt / sand spread |
| 7 |  |  |  | Parking and non-parking areas labeled |
| 8 |  |  |  | Smoking & non-smoking areas posted. Receptacles provided and empty. |
|  | Interior Areas & Housekeeping Conditions |
| 9 |  |  |  | Walk-off mats provided by entrance doors. Mats in good condition. |
| 10 |  |  |  | EXIT lights are lit. Push EXIT lights test buttons. All remained lit. |
| 11 |  |  |  | Hall Occupancy Load and other safety rules posted. |
| 12 |  |  |  | Emergency lights: Push test button. All worked properly. |
| 13 |  |  |  | Decorations do not obstruct or obscure exit doors / signs |
| 14 |  |  |  | Excessive decorations do not present fire hazard. If needed, fire permit acquired. |
| 15 |  |  |  | Room set-up does not obstruct or obscure egress routes. |
| 16 |  |  |  | Hall floor clean, dry, and free of slip and trip hazards. |
| 17 |  |  |  | Carpets, mats, dance floors, etc. are free of trip hazards. |
| 18 |  |  |  | Stairs are well lit & provided with hand rails., Treads are in good condition |
| 19 |  |  |  | Elevator occupancy load and inspection certificate posted. |
|  | Electrical Hazards |
| 20 |  |  |  | Outlets and switches are covered. |
| 21 |  |  |  | Extension cords are not excessive, do not present trip hazard, and in good condition. |
| 22 |  |  |  | 36 inches clearance maintained in front of electrical panels |
| 23 |  |  |  | Light fixtures protected (guard, cages, etc.) from contact |
|  | Kitchen / Food Preparation Areas |
| 24 |  |  |  | Current Sanitation Inspection certificate posted |
| 25 |  |  |  | Use of kitchen rules posted |
| 26 |  |  |  | Floors & aisles clean; slip, trip & fall hazards eliminated |
| 27 |  |  |  | Cooking appliances & hood clean of excessive grease and debris. |
| 28 |  |  |  | Ice machine clean |
| 29 |  |  |  | Refrigerator at proper temperature. Spoiled food removed. |
| 30 |  |  |  | Food preparation counters, tables, etc. clean and sanitized. |
|  | Fire Detection / Suppression |
| 31 |  |  |  | Fire alarm and/or detection system is functional and inspected annually |
| 32 |  |  |  | Fire sprinkler system functional. Gauges, valves, etc. in proper ranges, I-T-M annually |
| 33 |  |  |  | Fire extinguisher serviced annually & inspected monthly (sign rear of tags) |
| 34 |  |  |  | Kitchen hood clean and suppression system properly serviced. |