|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Fitness/Exercise Room  Facilities Hazard Identification Inspection | | | | | |
| Agency: | | | | | Inspection Date: |
| Name of Inspector: | | | | | Title: |
| Location Inspected: | | | | | |
| # | Needs  Work | N/A | OK | Condition Surveyed | |
|  | Facility | | | | |
| 1 |  |  |  | Tile flooring resistant to slips | |
| 2 |  |  |  | Rubber flooring free of slits, cuts and large gaps between pieces | |
| 3 |  |  |  | Carpet free of tears | |
| 4 |  |  |  | Flooring glued or fastened down properly with no trip hazards | |
| 5 |  |  |  | Mirrors placed 20” or greater off of the floor | |
| 6 |  |  |  | Mirrors are not damaged or cracked (replace immediately if damaged) | |
| 7 |  |  |  | Ceiling tiles are present and not damaged | |
| 8 |  |  |  | Ceiling height sufficient for overhead exercises | |
| 9 |  |  |  | Egress pathways kept clear | |
| 10 |  |  |  | Sufficient lighting | |
|  | Exercise Equipment | | | | |
| 11 |  |  |  | Mats and upholstery free of tears and cracks | |
| 12 |  |  |  | Equipment properly stored after use and returned to avoid pathway obstruction | |
| 13 |  |  |  | Easy access to equipment | |
| 14 |  |  |  | Area free of loose bolts, screws, chains and cables | |
| 15 |  |  |  | No protruding screws or parts that need tightening or removal | |
| 16 |  |  |  | Parts and surfaces properly lubricated and cleaned | |
| 17 |  |  |  | Belts, chains and cables aligned with machine parts | |
| 18 |  |  |  | No worn parts visible (chains, belts, cables, bolts, cracked joints, etc.) | |
| 19 |  |  |  | Protective padding free of cracks and tears | |
| 20 |  |  |  | Benches and weight racks are secured to the floor or wall | |
| 21 |  |  |  | Remove or place sign on damaged equipment | |
|  | Cleaning | | | | |
| 22 |  |  |  | Clean all flooring | |
| 24 |  |  |  | Clean and disinfect upholstery | |
| 25 |  |  |  | Clean and disinfect drinking fountain | |
| 26 |  |  |  | Clean and disinfect surfaces that contact skin | |
| 27 |  |  |  | Remove trash and garbage | |
| 28 |  |  |  | Ensure equipment is returned and stored properly | |
| 29 |  |  |  | Clean rust from equipment with rust-removing solution | |
| 30 |  |  |  | Replace lightbulbs as needed | |