| School Art Room Facilities Hazard Identification Inspection |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Agency: |  |  |  |  | Inspection Date: |
| Name of Inspector: |  |  |  |  | Title: |
| Location Inspected: |  |  |  |  |  |
| # | Needs Work | N/A | OK | Condition Surveyed |  |
|  | General |  |  |  |  |
| 1 |  |  |  | Exits and walkways are clear and accessible with no obstructions. |  |
| 2 |  |  |  | Electrical Panels are unobstructed and have 36” of clearance around the panels. |  |
| 3 |  |  |  | There are no signs of mold or moisture intrusion. |  |
| 4 |  |  |  | Emergency eyewash/shower is functional and has been tested weekly. Weekly tests are documented. |  |
| 5 |  |  |  | Fire extinguisher, pull station and emergency eyewash/shower are free of obstructions and accessible. |  |
| 6 |  |  |  | Lighting in good working order. |  |
| 7 |  |  |  | All faucets/sinks are working properly with no leaks. |  |
| 8 |  |  |  | Signs are posted indicated there is no eating or drinking in the classroom. |  |
|  | Paints and Chemicals |  |  |  |  |
| 9 |  |  |  | Ventilation hoods are functional and have been tested annually. |  |
| 10 |  |  |  | Paints and chemicals are properly labeled per the NJ Right to Know requirements. |  |
| 11 |  |  |  | Safety Data Sheets (SDS) are available for all hazardous chemicals. |  |
| 12 |  |  |  | Paints, glazes and other chemicals and hazardous materials are stored in a secure location that is locked and away from ignition sources and other hazards. |  |
| 13 |  |  |  | Paints, glazes and other chemicals are not stored in food or beverage containers. |  |
| 14 |  |  |  | A complete inventory of all chemicals in the room is available. |  |
| 15 |  |  |  | All necessary PPE is available and in good condition. |  |
| 16 |  |  |  | Spill control kit is available and contains are necessary items. |  |
|  | Storage |  |  |  |  |
| 17 |  |  |  | Materials and chemicals are stored below shoulder height. |  |
| 18 |  |  |  | Knives and sharp objects are stored in a secure location. |  |
| 19 |  |  |  | Step ladder is available and in good condition. |  |
|  | Kiln |  |  |  |  |
| 20 |  |  |  | Kiln is located at least 18” away from drywall or 12” away from cinderblock walls. |  |
| 21 |  |  |  | No flammable storage around the kiln. |  |
| 22 |  |  |  | Bottom shelf of kiln should be at least 3 ½ ” off the bottom to allow for proper airflow. |  |
| 23 |  |  |  | Ventilation is functional. |  |
| 24 |  |  |  | Power cord is not touching any parts of the kiln that get hot. |  |
| 25 |  |  |  | Appropriate PPE is available and in good condition including gloves, apron, and safety glasses. |  |
| 26 |  |  |  | An ABC portable fire extinguisher is located in the Kiln room and is accessible. |  |
| 27 |  |  |  | Signs are posted indicating there is no eating, drinking or smoking in the kiln room. |  |