| Bleachers - Indoor or Outdoor Facilities Hazard Identification Inspection |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Agency: |  |  |  |  | Inspection Date: |
| Name of Inspector: |  |  |  |  | Title: |
| Location Inspected: |  |  |  |  |  |
| # | Needs Work | N/A | OK | Condition Surveyed |  |
|  | General |  |  |  |  |
| 1 |  |  |  | Are the bleachers structurally sound & appear to be in good condition? |  |
| 2 |  |  |  | If bleachers have 4 seats or more - Have bleachers been inspected by a PE within the last 2 years? |  |
|  | Understructure |  |  |  |  |
| 3 |  |  |  | Checked for proper ground anchor/sill attachment. |  |
| 4 |  |  |  | Checked frame and cross brace location. |  |
| 5 |  |  |  | Checked all bolt connections. |  |
| 6 |  |  |  | Checked all weld connections. |  |
|  | Seat/Foot/Riser/Walkway Planks |  |  |  |  |
| 7 |  |  |  | Checked for straightness. |  |
| 8 |  |  |  | Checked for splices/rivets. |  |
| 9 |  |  |  | Checked all bolt connections. |  |
| 10 |  |  |  | Checked endcaps. |  |
|  | #### Guardrail (Front, Sides, and Rear) |  |  |  |  |  |
| 11 |  |  |  | Are bleachers on grass or concrete? If on hard surface, they should have fall guards. |  |
| 12 |  |  |  | Are there more than three levels of benches – if less than 3, guard rails are not required. |  |
| 13 |  |  |  | If yes, is back & side fall protection provided on areas above 30”? Are fall guards at least 42” tall? |  |
| 14 |  |  |  | Do openings in rails or fences restrict the ability to climb or gain a toe hold? |  |
| 15 |  |  |  | Checked all bolt connections. |  |
| 16 |  |  |  | Checked pipe connections and fittings. |  |
| 17 |  |  |  | Checked splices and rivets. |  |
| 18 |  |  |  | Checked chain link fabric for neatness at ends/corners. |  |
| 19 |  |  |  | Checked for adequate wire tie attachments. |  |
|  | #### Aisles |  |  |  |  |  |
| 20 |  |  |  | Checked for splices/rivets. |  |
| 21 |  |  |  | Checked all bolt connections. |  |
| 22 |  |  |  | Checked endcaps. |  |
| 23 |  |  |  | Checked all handrails for stiffness/not loose and proper connections. |  |
|  | #### Entry Stairs |  |  |  |  |
| 24 |  |  |  | Checked for proper attachment to bleachers. |  |
| 25 |  |  |  | Checked all bolt connections. |  |
| 26 |  |  |  | Checked rail pipe connections and related fittings. |  |
|  | #### Ramp and Platform |  |  |  |  |  |
| 27 |  |  |  | Checked for proper attachment to bleachers. |  |
| 28 |  |  |  | Checked all bolt connections. |  |
| 29 |  |  |  | Checked rail pipe connections and related fittings. |  |
| 30 |  |  |  | Checked splices and rivets. |  |
| 31 |  |  |  | Checked chain link fabric for neatness at ends/corners. |  |
| 32 |  |  |  | Checked for adequate wire tie attachments. |  |
|  | #### Wheelchair Seating Area |  |  |  |  |
| 33 |  |  |  | Checked all bolt connections. |  |
| 34 |  |  |  | Checked rail pipe connections and related fittings. |  |
| 35 |  |  |  | Checked riser end caps/rivets. |  |