| School Science Lab Facilities Hazard Identification Inspection |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Agency: |  |  |  |  | Inspection Date: |
| Name of Inspector: |  |  |  |  | Title: |
| Location Inspected: |  |  |  |  |  |
| # | Needs Work | N/A | OK | Condition Surveyed |  |
|  | Classroom |  |  |  |  |
| 1 |  |  |  | Exits and walkways are clear and accessible with no obstructions. |  |
| 2 |  |  |  | Electrical Panels are unobstructed and have 36” of clearance around the panels. |  |
| 3 |  |  |  | There are no signs of mold or moisture intrusion. |  |
| 4 |  |  |  | Emergency eyewash/shower is functional and has been tested weekly. Weekly tests are documented. |  |
| 5 |  |  |  | Fire extinguisher, pull station and emergency eyewash/shower are free of obstructions, and accessible. |  |
| 6 |  |  |  | Lighting in good working order. |  |
| 7 |  |  |  | Signs are posted indicated there is no eating or drinking in the classroom. |  |
| 8 |  |  |  | Lab safety/warning signage is posted throughout the room. |  |
|  | Chemicals |  |  |  |  |
| 9 |  |  |  | Ventilation hoods are functional and have been tested annually. |  |
| 10 |  |  |  | Chemicals are properly labeled per the NJ Right to Know requirements. |  |
| 11 |  |  |  | Safety Data Sheets (SDS) are available for all hazardous chemicals. |  |
| 12 |  |  |  | Chemicals and hazardous materials are stored in a secure location that is locked and away from ignition sources and other hazards. |  |
| 13 |  |  |  | Chemicals are not stored in food or beverage containers. |  |
| 14 |  |  |  | A complete inventory of all chemicals in the room is available. |  |
| 15 |  |  |  | All necessary PPE is available and in good condition. |  |
| 16 |  |  |  | Spill control kit is available and contains are necessary items. |  |
| 17 |  |  |  | Gas shut-off valves are labeled and easily accessible. |  |
|  | Storage |  |  |  |  |
| 18 |  |  |  | Materials and chemicals are stored below shoulder height. |  |
| 19 |  |  |  | Knives and sharp objects are stored in a secure location. |  |
| 20 |  |  |  | Step ladder is available and in good condition. |  |
| 21 |  |  |  | Glassware is free of chips, cracks, and damage. |  |