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	Insert EMS agency name 
Facilities Hazard Identification Inspection

	Inspection Date:
	Inspector Name:

	Location Inspected:

	#
	Needs Work
	N/A
	OK
	Condition Surveyed: Conditions found to need work should be described on page 2

	
	Exterior Grounds, Walkways and Parking Areas

	
	
	
	
	Exterior lighting of grounds, walkways, & parking areas adequate and operational

	
	
	
	
	Parking lots and driveways free of significant cracks and water accumulation

	
	
	
	
	Sidewalks, stairs & ramps are free of significant trip or slip hazards

	
	
	
	
	Landscaping and vegetation do not present a safety or security hazard. (overgrown)

	
	
	
	
	Yard & recreational areas are clean and organized. 

	
	
	
	
	Outside sheds & storage areas are organized and secured against falling.

	
	
	
	
	Roofs, gutters, and downspouts are clean and control run-off properly

	
	
	
	
	Areas are free of signs of rodents, insects, or feral animals.

	
	
	
	
	Insert additional conditions to be inspected
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	Life Safety

	
	
	
	
	Intrusion alarm is operational and free of trouble or active alarms

	
	
	
	
	Closed-circuit TV cameras are operational, properly aimed and focused

	
	
	
	
	Fire sprinkler system is operational, controls valve are accessible, locked & alarmed

	
	
	
	
	Fire detection system operational and free of trouble or active alarms

	
	
	
	
	Fire extinguishers are accessible and in good condition – SIGN REAR OF TAGS

	
	
	
	
	Emergency and Exit lights are lit and worked when the test button/switch is used

	
	
	
	
	Panic hardware on exit doors worked easily. Doors latched when closing

	
	
	
	
	Emergency eyewashes and showers are clean, accessible, and flushed monthly

	
	
	
	
	Insert additional conditions to be inspected

	
	Mechanical Rooms & Areas

	
	
	
	
	Outlets and junction boxes are covered.  Electrical cords are in good condition.

	
	
	
	
	36-inch clearance in front of electrical panels and other controls.

	
	
	
	
	The mechanical Room is free of storage, and access is available to equipment controls.

	
	
	
	
	Flammable & combustible liquids stored in flammable cabinets. Only 1 day supply out

	
	
	
	
	Storage and dispensing areas of hazardous substances are clean, organized & labeled

	
	
	
	
	Tools and cleaning supplies are properly stored

	
	
	
	
	Laundry room/area is clean and organized.  Dryer lint accumulation is minimal.

	
	
	
	
	Insert additional conditions to be inspected

	
	
	
	
	

	
	Ambulance and Vehicle Bays

	
	
	
	
	Door closer controls nd sensors are operating properly.

	
	
	
	
	Bay floor surfaces are clean and free of slip and trip hazards.  Storage is not in aisles.

	
	
	
	
	Landline cords and air hoses do not pose a tripping hazard.

	
	
	
	
	Compressed gas cylinders are secured by chains or brackets.  None are unsecured.

	
	
	
	
	Oxygen cascade system cylinders are secured.  Hoses and fittings are in good condition.

	
	
	
	
	Cleaning & disinfecting areas are clean.  Adequate supplies are present.

	
	
	
	
	Trash is emptied.  Housekeeping is adequate

	
	
	
	
	Turnout gear / personal lockers are organized and do not present slip-trip hazard

	
	
	
	
	Insert additional conditions to be inspected

	
	Offices and Crew Areas

	
	
	
	
	Bathrooms are clean, supplies adequate, and trash emptied

	
	
	
	
	The refrigerator and stove are clean.  Kitchen is free of signs of rodents & insects.

	
	
	
	
	Kitchen is clean and organized.  Trash is emptied.  Housekeeping is adequate.

	
	
	
	
	Hallways & stairwells are well-lit, clear of obstructions, and free of slip-trip hazards

	
	
	
	
	Walls, floors, and ceilings are free of water, rodent, or mechanical damage.

	
	
	
	
	Insert additional conditions to be inspected



Description of items that need work: include line # and condition found.
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This document does not and is not intended to address every loss potential. There may be other conditions that may contain a potential for liability. 
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