| Insert EMS agency name Facilities Hazard Identification Inspection |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Inspection Date: |  |  |  |  | Inspector Name: |
| Location Inspected: |  |  |  |  |  |
| # | Needs Work | N/A | OK | Condition Surveyed: Conditions found to need work should be described on page 2 |  |
|  | Exterior Grounds, Walkways and Parking Areas |  |  |  |  |
|  |  |  |  | Exterior lighting of grounds, walkways, & parking areas adequate and operational |  |
|  |  |  |  | Parking lots and driveways free of significant cracks and water accumulation |  |
|  |  |  |  | Sidewalks, stairs & ramps are free of significant trip or slip hazards |  |
|  |  |  |  | Landscaping and vegetation do not present a safety or security hazard. (overgrown) |  |
|  |  |  |  | Yard & recreational areas are clean and organized. |  |
|  |  |  |  | Outside sheds & storage areas are organized and secured against falling. |  |
|  |  |  |  | Roofs, gutters, and downspouts are clean and control run-off properly |  |
|  |  |  |  | Areas are free of signs of rodents, insects, or feral animals. |  |
|  |  |  |  | Insert additional conditions to be inspected |  |
|  | Life Safety |  |  |  |  |
|  |  |  |  | Intrusion alarm is operational and free of trouble or active alarms |  |
|  |  |  |  | Closed-circuit TV cameras are operational, properly aimed and focused |  |
|  |  |  |  | Fire sprinkler system is operational, controls valve are accessible, locked & alarmed |  |
|  |  |  |  | Fire detection system operational and free of trouble or active alarms |  |
|  |  |  |  | Fire extinguishers are accessible and in good condition – SIGN REAR OF TAGS |  |
|  |  |  |  | Emergency and Exit lights are lit and worked when the test button/switch is used |  |
|  |  |  |  | Panic hardware on exit doors worked easily. Doors latched when closing |  |
|  |  |  |  | Emergency eyewashes and showers are clean, accessible, and flushed monthly |  |
|  |  |  |  | Insert additional conditions to be inspected |  |
|  | Mechanical Rooms & Areas |  |  |  |  |
|  |  |  |  | Outlets and junction boxes are covered. Electrical cords are in good condition. |  |
|  |  |  |  | 36-inch clearance in front of electrical panels and other controls. |  |
|  |  |  |  | The mechanical Room is free of storage, and access is available to equipment controls. |  |
|  |  |  |  | Flammable & combustible liquids stored in flammable cabinets. Only 1 day supply out |  |
|  |  |  |  | Storage and dispensing areas of hazardous substances are clean, organized & labeled |  |
|  |  |  |  | Tools and cleaning supplies are properly stored |  |
|  |  |  |  | Laundry room/area is clean and organized. Dryer lint accumulation is minimal. |  |
|  |  |  |  | Insert additional conditions to be inspected |  |
|  | Ambulance and Vehicle Bays |  |  |  |  |
|  |  |  |  | Door closer controls nd sensors are operating properly. |  |
|  |  |  |  | Bay floor surfaces are clean and free of slip and trip hazards. Storage is not in aisles. |  |
|  |  |  |  | Landline cords and air hoses do not pose a tripping hazard. |  |
|  |  |  |  | Compressed gas cylinders are secured by chains or brackets. None are unsecured. |  |
|  |  |  |  | Oxygen cascade system cylinders are secured. Hoses and fittings are in good condition. |  |
|  |  |  |  | Cleaning & disinfecting areas are clean. Adequate supplies are present. |  |
|  |  |  |  | Trash is emptied. Housekeeping is adequate |  |
|  |  |  |  | Turnout gear / personal lockers are organized and do not present slip-trip hazard |  |
|  |  |  |  | Insert additional conditions to be inspected |  |
|  | Offices and Crew Areas |  |  |  |  |
|  |  |  |  | Bathrooms are clean, supplies adequate, and trash emptied |  |
|  |  |  |  | The refrigerator and stove are clean. Kitchen is free of signs of rodents & insects. |  |
|  |  |  |  | Kitchen is clean and organized. Trash is emptied. Housekeeping is adequate. |  |
|  |  |  |  | Hallways & stairwells are well-lit, clear of obstructions, and free of slip-trip hazards |  |
|  |  |  |  | Walls, floors, and ceilings are free of water, rodent, or mechanical damage. |  |
|  |  |  |  | Insert additional conditions to be inspected |  |

Description of items that need work: include line # and condition found.

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________